energy efficiency in wind parks

Module 6.1 – Virtual Reality and Optimization

Summersemester 2026

6. Semester

Authors:

Wiemann, Max (5330014)

Nikolov, Tim (5323111)

Submission date: 01.09.2026

Content

1.	Introduction	3

2.	Related Work / State of the Art (optional)	3

3.	Methodology and Implementation	3

3.1	Preperation of the project	3

3.2	Data source	3

3.3	Combining datasets	3

3.4	Cleaning the data	3

3.5	Data analysis	3

4.	Results	3

4.1	Combining Datasets	3

4.2	Cleaning the data	3

4.3	Data analysis	3

5.	Discussion	3

6.	Conclusion	3

7.	References	4

Es konnten keine Einträge für ein Abbildungsverzeichnis gefunden werden.

- Introduction

Importance of the Topic, motivation

Risikowerte bzw Faktoren vor und während der besonderen ereignisse bestimmen und anhand dessen einen kritischn punkt festlegen, an dem gewarnt werden soll

- Related Work / State of the Art (optional)

- Methodology and Implementation

  - Preperation of the project

For preparing the project, first it was important to find a specific dataset that fits to the selected topic. After some research the CARE-to-Compare dataset [1] was selected as the most suitable dataset for this topic. The decision was based on data availability, documentation quality, and relevance to the research goal. Before starting with the technical work, it was important to review the documentation like the README and the known data issues to understand the dataset structure and limitations.

As a next step, the project infrastructure was created. For this, Visual Studio Code was prepared as the main software for programming. In addition, a GitHub repository was created to enable backup, documentation, and collaborative work between both project partners. A structured local project folder was then created, along with a .gitignore file to exclude large data files from version control, since GitHub imposes file size limits unsuitable for SCADA datasets. During the initial setup, Git-related issues, such as push rejections due to file size limitations, were resolved to establish a stable version-control setup for the remainder of the project.

  - Data source

Scada data

  - Combining datasets

Wind Farm A consists of multiple individual SCADA CSV files, each representing a different event. Each of the events fits to one turbine, which is shown as the asset ID. For having a better overview of all events happening with one specific turbine, it was decided to merge the different datasets into one dataset per turbine, which contains the different events in one data.

For each turbine, the corresponding event-based CSV files were manually identified by inspecting the asset IDs in each event’s dataset. The event files were read using pandas, with semicolon used consistently as the delimiter. Each file was labelled with its respective event ID before merging, to preserve traceability of which rows originated from which original file. The labelled files were then combined into a single dataset per turbine using “pd.concat()”.

The combined per-turbine dataset was saved as a new CSV file for further processing. To verify that the combination was carried out correctly, basic checks were performed, including the shape of the resulting dataset as well as its first and last rows.

  - Cleaning the data

For preparing the data to make further analyses, it is important to clean the data. In this project, the data cleaning worked in different steps.

One of those is to standardize the column names. The column names were converted to lowercase, special characters were removed, and spaces were replaced with underscores to ensure consistent naming across all files.

As well, rows that were completely empty were removed from each dataset.

Based on the known data quality issues documented for Wind Farm A, each sensor’s Min and Max values were checked against its corresponding Avg value for every timestamp. A Min value exceeding the Avg value, or a Max value falling below the Avg value, was flagged as implausible, since both cases are physically impossible. Identified implausible Min or Max values were individually replaced with missing values (NaN), while the Avg value was left unchanged, since Avg values are generally considered reliable according to the dataset documentation.

More than 50% implausible values were identified at sensor 31, which made the sensor unsuitable for reliable analysis even after cleaning. For that reason, the entire Avg, Min, and Max columns of this sensor were removed.

The cleaning script was also designed to allow the removal of additional columns, in case further sensors to be unsuitable for analysis.

To ensure good documentation and transparency, there was a summary report generated for each processed file. This report includes the number of columns, time range, the distribution of status type id, constant columns, descriptive statistics, and the percentage of missing values per column. In addition, the event information file was linked to the report for showing the matched event metadata (label, start, end, description) for each event. The number of flagged implausible values and the number of values actually replaced were logged separately per sensor, allowing the extent of data quality issues to be quantified.

The cleaned datasets as CSV files and the reports of each event were saved in a new folder, which can be used for further analysis.

  - Data analysis

Text

Sensor 31 am besten entfernen, da die werte dort beim cleaning bzw bei den flags häufig als unplausibel gewertet wurden

- Results

  - Combining Datasets

Turbinen und die jeweiligen events als tabelle

  - Cleaning the data

  - Data analysis

Text

- Discussion

Limitations

- Conclusion

Text

- References